{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":334,"n_cols":8,"rows_kept":334,"merged":[[0,0,0,7],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[1,6,2,6],[1,7,2,7]],"flags":["formulas_cached_only"]}
["2025年江门市农产品质量安全检测试剂耗材采购需求表"]
["序号","产品名称","规格、主要技术参数","单位","数量","备注（参考品牌）","单价（元）","小计（元）"]
[]
[1,"丁腈手套","100只/盒、S码","盒",40]
[2,"丁腈手套","100只/盒、M码","盒",50]
[3,"丁腈手套","100只/盒、L码","盒",20]
[4,"50ml带塞尖底塑料离心管","25支/包","包",258]
[5,"50ml带塞尖底塑料离心管","50ml/支，500支/箱","箱",4]
[6,"玻璃试剂瓶","250ml，高硼硅，带聚丙烯瓶盖，透明","个",20]
[7,"玻璃试剂瓶","500ml，高硼硅，带聚丙烯瓶盖，透明","个",20]
[8,"玻璃试剂瓶","1000ml，高硼硅，带聚丙烯瓶盖，透明","个",20]
[9,"玻璃试剂瓶","250ml，高硼硅，带聚丙烯瓶盖，棕色","个",20]
[10,"玻璃试剂瓶","500ml，高硼硅，带聚丙烯瓶盖，棕色","个",20]
[11,"玻璃试剂瓶","1000ml，高硼硅，带聚丙烯瓶盖，棕色","个",20]
[12,"倍硫磷标准物质","100μg/mL，1mL/支","支",4]
[13,"倍硫磷标准物质","1000ug/ml，1ml/支","支",4]
[14,"丙溴磷标准物质","100μg/mL，1mL/支","支",4]
[15,"丙溴磷标准物质","1000ug/ml，1ml/支","支",4]
[16,"地虫硫磷标准物质","100μg/mL，1mL/支","支",4]
[17,"地虫硫磷标准物质","1000ug/ml，1ml/支","支",4]
[18,"毒死蜱标准物质","100μg/mL，1mL/支","支",4]
[19,"毒死蜱标准物质","1000ug/ml，1ml/支","支",4]
[20,"对硫磷标准物质","100μg/mL，1mL/支","支",4]
[21,"对硫磷标准物质","1000ug/ml，1ml/支","支",4]
[22,"二嗪磷标准物质","100μg/mL，1mL/支","支",4]
[23,"二嗪磷标准物质","1000ug/ml，1ml/支","支",4]
[24,"甲拌磷标准物质","100μg/mL，1mL/支","支",4]
[25,"甲拌磷标准物质","1000ug/ml，1ml/支","支",4]
[26,"甲基对硫磷标准物质","100μg/mL，1mL/支","支",4]
[27,"甲基对硫磷标准物质","1000ug/ml，1ml/支","支",4]
[28,"喹硫磷标准物质","100μg/mL，1mL/支","支",4]
[29,"喹硫磷标准物质","1000ug/ml，1ml/支","支",4]
[30,"乐果标准物质","100μg/mL，1mL/支","支",4]
[31,"乐果标准物质","1000ug/ml，1ml/支","支",4]
[32,"硫环磷标准物质","100μg/mL，1mL/支","支",4]
[33,"硫环磷标准物质","1000ug/ml，1ml/支","支",4]
[34,"马拉硫磷标准物质","100μg/mL，1mL/支","支",4]
[35,"马拉硫磷标准物质","1000ug/ml，1ml/支","支",4]
[36,"嘧啶磷标准物质","100μg/mL，1mL/支","支",4]
[37,"嘧啶磷标准物质","1000ug/ml，1ml/支","支",4]
[38,"灭线磷标准物质","100μg/mL，1mL/支","支",4]
[39,"灭线磷标准物质","1000ug/ml，1ml/支","支",4]
[40,"三唑磷标准物质","100μg/mL，1mL/支","支",4]
[41,"三唑磷标准物质","1000ug/ml，1ml/支","支",4]
[42,"杀螟硫磷标准物质","100μg/mL，1mL/支","支",4]
[43,"杀螟硫磷标准物质","1000ug/ml，1ml/支","支",4]
[44,"杀扑磷标准物质","100μg/mL，1mL/支","支",4]
[45,"杀扑磷标准物质","1000ug/ml，1ml/支","支",4]
[46,"水胺硫磷标准物质","100μg/mL，1mL/支","支",4]
[47,"水胺硫磷标准物质","1000ug/ml，1ml/支","支",4]
[48,"特丁硫磷标准物质","100μg/mL，1mL/支","支",4]
[49,"特丁硫磷标准物质","1000ug/ml，1ml/支","支",4]
[50,"亚胺硫磷标准物质","100μg/mL，1mL/支","支",4]
[51,"亚胺硫磷标准物质","1000ug/ml，1ml/支","支",4]
[52,"乙拌磷标准物质","100μg/mL，1mL/支","支",4]
[53,"乙拌磷标准物质","1000ug/ml，1ml/支","支",4]
[54,"乙腈","色谱级，4L/瓶","瓶",23]
[55,"乙硫磷标准物质","100μg/mL，1mL/支","支",4]
[56,"乙硫磷标准物质","1000ug/ml，1ml/支","支",4]
[57,"治螟磷标准物质","100μg/mL，1mL/支","支",4]
[58,"治螟磷标准物质","1000ug/ml，1ml/支","支",4]
[59,"10种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"甲胺磷、治螟磷、特丁硫磷、二嗪磷、马拉硫磷、毒死蜱、水胺硫磷、甲基异柳磷、丙溴磷、三唑磷"]
[60,"10种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"敌敌畏、乙酰甲胺磷、氧乐果、甲拌磷、乐果、甲基对硫磷、杀螟硫磷、对硫磷、杀扑磷、亚胺硫磷"]
[61,"10种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"甲基内吸磷、丁基嘧啶磷、敌恶磷、倍硫磷、氧异柳磷、稻丰散、甲拌磷砜、碘硫磷、抑草磷、硫环磷"]
[62,"15ml带塞尖底塑料离心管","15ml/支，50支/包","包",20]
[63,"玻璃样品瓶","15mL，100个/盒","盒",7]
[64,"玻璃样品瓶","45mL-50mL，50个/盒","盒",2]
[65,"敌敌畏标准物质","100μg/mL，1mL/支","支",4]
[66,"敌敌畏标准物质","1000ug/ml，1ml/支","支",2]
[67,"伏杀硫磷标准物质","100μg/mL，1mL/支","支",2]
[68,"伏杀硫磷标准物质","1000ug/ml，1ml/支","支",4]
[69,"甲基毒死蜱标准物质","100μg/mL，1mL/支","支",2]
[70,"甲基毒死蜱标准物质","1000ug/ml，1ml/支","支",4]
[71,"甲基硫环磷标准物质","100μg/mL，1mL/支","支",4]
[72,"甲基硫环磷标准物质","1000ug/ml，1ml/支","支",2]
[73,"甲基异柳磷标准物质","100μg/mL，1mL/支","支",4]
[74,"甲基异柳磷标准物质","1000ug/ml，1ml/支","支",2]
[75,"甲萘威标准物质","100μg/mL，1mL/支","支",2]
[76,"甲萘威标准物质","1000ug/ml，1ml/支","支",4]
[77,"具塞量筒","100mL","个",10]
[78,"具塞量筒","250mL","个",16]
[79,"克百威标准物质","100μg/mL，1mL/支","支",2]
[80,"克百威标准物质","1000ug/ml，1ml/支","支",4]
[81,"灭多威标准物质","100μg/mL，1mL/支","支",2]
[82,"灭多威标准物质","1000ug/ml，1ml/支","支",4]
[83,"速灭磷标准物质","100μg/mL，1mL/支","支",4]
[84,"速灭磷标准物质","1000ug/ml，1ml/支","支",2]
[85,"涕灭威标准物质","100μg/mL，1mL/支","支",2]
[86,"涕灭威标准物质","1000ug/ml，1ml/支","支",4]
[87,"涕灭威砜标准物质","100μg/mL，1mL/支","支",2]
[88,"涕灭威砜标准物质","1000ug/ml，1ml/支","支",4]
[89,"涕灭威亚砜标准物质","100μg/mL，1mL/支","支",2]
[90,"涕灭威亚砜标准物质","1000ug/ml，1ml/支","支",4]
[91,"氧乐果标准物质","100μg/mL，1mL/支","支",4]
[92,"氧乐果标准物质","1000ug/ml，1ml/支","支",2]
[93,"乙基溴硫磷标准物质","100μg/mL，1mL/支","支",2]
[94,"乙基溴硫磷标准物质","1000ug/ml，1ml/支","支",4]
[95,"乙酰甲胺磷标准物质","100μg/mL，1mL/支","支",4]
[96,"乙酰甲胺磷标准物质","1000ug/ml，1ml/支","支",2]
[97,"异柳磷标准物质","100μg/mL，1mL/支","支",2]
[98,"异柳磷标准物质","1000ug/ml，1ml/支","支",4]
[99,"10ml一次性无菌注射器","10ml（100支/盒）","盒",16]
[100,"13种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"甲胺磷、治螟磷、特丁硫磷、除线磷、皮蝇磷、甲基嘧啶硫磷、溴硫磷、对硫磷、异柳磷、脱叶磷、杀扑磷、哌草磷、伏杀硫磷"]
[101,"13种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"乙嘧硫磷、速灭磷、硫线磷、胺丙畏、八甲磷、甲基立枯磷、地毒磷、马拉硫磷、喹硫磷、丙硫磷、三硫磷、哒嗪磷、特丁硫磷砜"]
[102,"2-200μl移液枪头","20-200μl，1000个/包，适用于普兰德移液枪","包",10]
[103,"33种杀虫剂和杀菌剂混标溶液（见备注）","100μg/mL、1ml/支","支",5,"敌敌畏、甲胺磷、速灭磷、异丙威、乙酰甲胺磷、灭线磷、治螟磷、甲拌磷、特丁硫磷、地虫硫磷、除线磷、乐果、甲基嘧啶磷、乙烯菌核利、三氯杀螨醇、倍硫磷、乙基对氧磷、三唑酮、对硫磷、甲基异柳磷、硫丹、甲拌磷亚砜、异柳磷、喹硫磷、甲拌磷砜、联苯菊酯、三唑磷、苯硫磷、氯菊酯、吡嘧磷、氯氰菊酯、氰戊菊酯、溴氰菊酯"]
[104,"33种杀虫剂和杀菌剂混标溶液（见备注）","100μg/mL、1ml/支","支",5,"仲丁威、α-六六六、五氯硝基苯、氧乐果、二嗪磷、百治磷、γ-六六六、克百威、甲基毒死蜱、皮蝇磷、β-六六六、毒死蜱、甲基对硫磷、嘧啶磷、马拉硫磷、δ-六六六、杀螟硫磷、乙基溴硫磷、水胺硫磷、Z-杀虫畏、腐霉利、丙溴磷、杀扑磷、硫环磷、乙硫磷、甲氰菊酯、异菌脲、亚胺硫磷、氯氟氰菊酯、伏杀硫磷、氟氰戊菊酯、氟氯氰菊酯、氟胺氰菊酯"]
[105,"5ml一次性无菌注射器","5mL，100支/盒","盒",15]
[106,"MAS-Q净化包","900mg 硫酸镁,150mg PSA 50支/盒","盒",40]
[107,"百菌清标准物质","100μg/mL，1mL/支","支",2]
[108,"百菌清标准物质","1000ug/ml，1ml/支","支",2]
[109,"百治磷标准物质","100μg/mL，1mL/支","支",2]
[110,"百治磷标准物质","1000ug/ml，1ml/支","支",2]
[111,"苯硫磷标准物质","100μg/mL，1mL/支","支",2]
[112,"苯硫磷标准物质","1000ug/ml，1ml/支","支",2]
[113,"吡菌磷标准物质","100μg/mL，1mL/支","支",2]
[114,"吡菌磷标准物质","1000ug/ml，1ml/支","支",2]
[115,"丙酮","色谱纯，4L/瓶","瓶",5]
[116,"丙酮","特定级S.U.\n500ml\\瓶","瓶",6]
[117,"玻璃瓶","15ml，透明，瓶径22mm，高70mm，100个/盒","盒",20]
[118,"玻璃瓶","10ml，透明，瓶径22mm，高50mm，100个/盒","盒",20]
[119,"地毒磷标准物质","100μg/mL，1mL/支","支",2]
[120,"地毒磷标准物质","1000ug/ml，1ml/支","支",2]
[121,"对氧磷标准物质","100μg/mL，1mL/支","支",2]
[122,"对氧磷标准物质","1000ug/ml，1ml/支","支",2]
[123,"恩诺沙星标准物质","100μg/mL，1mL/支","支",2]
[124,"恩诺沙星标准物质","1000ug/ml，1ml/支","支",2]
[125,"伐灭磷标准物质","100μg/mL，1mL/支","支",2]
[126,"伐灭磷标准物质","1000ug/ml，1ml/支","支",2]
[127,"氟胺氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[128,"氟胺氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[129,"氟氯氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[130,"氟氯氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[131,"氟氰戊菊酯标准物质","100μg/mL，1mL/支","支",2]
[132,"氟氰戊菊酯标准物质","1000ug/ml，1ml/支","支",2]
[133,"环丙沙星标准物质","100μg/mL，1mL/支","支",2]
[134,"环丙沙星标准物质","1000ug/ml，1ml/支","支",2]
[135,"甲胺磷标准物质","100μg/mL，1mL/支","支",2]
[136,"甲胺磷标准物质","1000ug/ml，1ml/支","支",4]
[137,"甲拌磷砜标准物质","100μg/mL，1mL/支","支",2]
[138,"甲拌磷砜标准物质","1000ug/ml，1ml/支","支",2]
[139,"甲拌磷亚砜标准物质","100μg/mL，1mL/支","支",2]
[140,"甲拌磷亚砜标准物质","1000ug/ml，1ml/支","支",2]
[141,"甲醇","色谱级，4L/瓶","瓶",5]
[142,"甲醇","色谱纯，500ml/瓶，10瓶/箱","箱",2]
[143,"甲基嘧啶磷标准物质","100μg/mL，1mL/支","支",2]
[144,"甲基嘧啶磷标准物质","1000ug/ml，1ml/支","支",2]
[145,"甲氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[146,"甲氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[147,"久效磷标准物质","100μg/mL，1mL/支","支",2]
[148,"久效磷标准物质","1000ug/ml，1ml/支","支",2]
[149,"口罩","活性炭口罩，耳带式，四层，50只/盒","盒",10]
[150,"口罩","活性炭口罩，头带式，KN95，50只/盒","盒",5]
[151,"联苯菊酯标准物质","100μg/mL，1mL/支","支",2]
[152,"联苯菊酯标准物质","1000ug/ml，1ml/支","支",2]
[153,"磷胺标准物质","100μg/mL，1mL/支","支",2]
[154,"磷胺标准物质","1000ug/ml，1ml/支","支",2]
[155,"硫丹标准物质","100μg/mL，1mL/支","支",2]
[156,"硫丹标准物质","1000ug/ml，1ml/支","支",2]
[157,"氯氟氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[158,"氯氟氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[159,"氯菊酯标准物质","100μg/mL，1mL/支","支",2]
[160,"氯菊酯标准物质","1000ug/ml，1ml/支","支",2]
[161,"氯氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[162,"氯氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[163,"灭菌磷标准物质","100μg/mL，1mL/支","支",2]
[164,"灭菌磷标准物质","1000ug/ml，1ml/支","支",2]
[165,"皮蝇磷标准物质","100μg/mL，1mL/支","支",2]
[166,"皮蝇磷标准物质","1000ug/ml，1ml/支","支",2]
[167,"气相进样瓶（带盖）","2mL，100个/盒","盒",11]
[168,"氰戊菊酯标准物质","100μg/mL，1mL/支","支",2]
[169,"氰戊菊酯标准物质","1000ug/ml，1ml/支","支",2]
[170,"三氯杀螨醇标准物质","100μg/mL，1mL/支","支",2]
[171,"三氯杀螨醇标准物质","1000ug/ml，1ml/支","支",2]
[172,"三羟基克百威标准物质","100μg/mL，1mL/支","支",2]
[173,"三羟基克百威标准物质","1000ug/ml，1ml/支","支",2]
[174,"三唑酮标准物质","100μg/mL，1mL/支","支",2]
[175,"三唑酮标准物质","1000ug/ml，1ml/支","支",2]
[176,"杀虫畏标准物质","100μg/mL，1mL/支","支",2]
[177,"杀虫畏标准物质","1000ug/ml，1ml/支","支",2]
[178,"烧杯","5ml","个",20]
[179,"烧杯","10ml","个",20]
[180,"实验服","L码/件","件",8]
[181,"实验服","XXL码/件","件",2]
[182,"速灭威标准物质","100μg/mL，1mL/支","支",2]
[183,"速灭威标准物质","1000ug/ml，1ml/支","支",2]
[184,"微孔过滤膜","尼龙66、13mm、0.22um、100个/盒","盒",20]
[185,"微孔过滤膜","过滤器,尼龙，13 mm，0.2 µm，100个/包,适用于安捷伦气质联用仪8890-7000D","包",20]
[186,"微孔滤膜（有机相）","尼龙66、13mm、0.22um、100个/盒","盒",4]
[187,"微孔滤膜（有机相）","0.45µm，100个/盒","盒",4]
[188,"五氯硝基苯标准物质","100μg/mL，1mL/支","支",2]
[189,"五氯硝基苯标准物质","1000ug/ml，1ml/支","支",2]
[190,"辛硫磷标准物质","100μg/mL，1mL/支","支",2]
[191,"辛硫磷标准物质","1000ug/ml，1ml/支","支",2]
[192,"溴氰菊酯标准物质","100μg/mL，1mL/支","支",2]
[193,"溴氰菊酯标准物质","1000ug/ml，1ml/支","支",2]
[194,"一次性塑料吸管","5毫升，100支/袋","袋",6]
[195,"一次性塑料吸管","1毫升，100支/袋","袋",2]
[196,"乙酸乙酯","色谱级，4L/瓶","瓶",3]
[197,"乙酸乙酯","色谱纯，500ml/瓶，10瓶/箱","箱",5]
[198,"乙烯菌核利标准物质","100μg/mL，1mL/支","支",2]
[199,"乙烯菌核利标准物质","1000ug/ml，1ml/支","支",2]
[200,"异丙威标准物质","100μg/mL，1mL/支","支",2]
[201,"异丙威标准物质","1000ug/ml，1ml/支","支",2]
[202,"异菌脲标准物质","100μg/mL，1mL/支","支",2]
[203,"异菌脲标准物质","1000ug/ml，1ml/支","支",2]
[204,"仲丁威标准物质","100μg/mL，1mL/支","支",2]
[205,"仲丁威标准物质","1000ug/ml，1ml/支","支",2]
[206,"棕色样品瓶","15mL，100个/盒","盒",6]
[207,"（Z）杀虫畏标准物质","1ml/支，1000μg/ml","支",2]
[208,"中性氧化铝","粒度0.075mm-0.15mm，500g/瓶，分析纯","罐",5,"广州化学试剂厂"]
[209,"一次性抹布","挂式，600g","包",100,"希思利雅"]
[210,"劳保线手套","棉线","对",100,"星工"]
[211,"一次性无纺布手袖","40cm*16cm","对",50]
[212,"QuEChERS 净化管","Cleanert LipoNo柱，15 mL，50 支/包","盒",5,"艾杰尔MS-LN0415"]
[213,"赤霉酸","1mL/瓶、1000ug/ml、标准物质","支",2,"农业部"]
[214,"原子荧光空心阴极灯砷灯","适用于瑞利AF-2200仪器","盏",2,"瑞利"]
[215,"微波消解内罐","1个控制罐（0号罐）+9个标准罐","套",2,"屹尧"]
[216,"9种β-受体激动剂 混合标准品","液体标准品，100μg/mL，1mL","瓶",1]
[217,"孔雀石绿标准品（孔雀石绿）","液体标准品，100μg/mL，1mL","瓶",1]
[218,"孔雀石绿标准品（隐性孔雀石绿）","液体标准品，100μg/mL，1mL","瓶",1]
[219,"孔雀石绿标准品（同位素内标氘代孔雀石绿）","液体标准品，100μg/mL，1mL","瓶",1]
[220,"孔雀石绿标准品（同位素内标氘代隐色孔雀石绿）","液体标准品，100μg/mL，1mL","瓶",1]
[221,"磺胺类混合标准品（水产品）","液体标准品，100μg/mL，1mL","瓶",1]
[222,"喹诺酮类混合标准品（水产品）","液体标准品，100μg/mL，1mL","瓶",1]
[223,"氘代磺胺邻二甲氧嘧啶内标","液体标准品，100μg/mL，1mL","瓶",1]
[224,"氘代磺胺间二甲氧嘧啶内标","液体标准品，100μg/mL，1mL","瓶",1]
[225,"氘代诺氟沙星内标","液体标准品，100μg/mL，1mL","瓶",1]
[226,"氘代环丙沙星内标","液体标准品，100μg/mL，1mL","瓶",1]
[227,"氘代恩诺沙星内标","液体标准品，100μg/mL，1mL","瓶",1]
[228,"71种农药定制混合标准物质（见备注）","液体标准品，100μg/mL，1mL/支","支",5,"甲胺磷、对硫磷、甲基对硫磷、六六六、三氯杀螨醇、甲拌磷（包括甲拌磷砜和甲拌磷亚砜）、水胺硫磷、甲基异柳磷、氧乐果、氟虫腈（包括氟甲腈、氟虫腈硫醚、氟虫腈砜）、毒死蜱、三唑磷、乐果、乙酰甲胺磷、氰戊菊酯、敌敌畏、丙溴磷、杀螟硫磷、二嗪磷、马拉硫磷、亚胺硫磷、伏杀硫磷、氯氰菊酯、甲氰菊酯、氯氟氰菊酯、氟氯氰菊酯、溴氰菊酯、联苯菊酯、氟胺氰菊酯、氟氰戊菊酯、三唑酮、异菌脲、腐霉利、五氯硝基苯、乙烯菌核利、苯醚甲环唑、二甲戊灵、多效唑、氯菊酯、灭线磷、克百威、硫环磷、氯唑磷、倍硫磷(倍硫磷砜、倍硫磷亚砜）、久效磷、治螟磷、特丁硫磷、杀扑磷、硫丹、滴滴涕（4种代谢物）"]
[229,"60种农药定制混合标准物质（见备注）","液体标准品，100μg/mL，1mL/支","支",5,"灭线磷、克百威（包括3-羟基克百威）、涕灭威（包括涕灭威砜和涕灭威亚砜）、灭多威、内吸磷、硫环磷、氯唑磷、辛硫磷、甲萘威、多菌灵、吡虫啉、倍硫磷(倍硫磷砜、倍硫磷亚砜）、丙环唑、多杀霉素、啶虫脒、哒螨灵、嘧霉胺、甲氨基阿维菌素苯甲酸盐、烯酰吗啉、咪鲜胺、嘧菌酯、噻虫嗪、氟啶脲、灭幼脲、甲霜灵、霜霉威、氯吡脲、氯虫苯甲酰胺、醚菊酯、虫酰肼、吡唑醚菊酯、戊唑醇、乙基多杀霉素、抑霉唑、噻虫胺、阿维菌素、除虫脲、腈苯唑、茚虫威、噻嗪酮、甲胺磷、对硫磷、甲拌磷（包括甲拌磷砜和甲拌磷亚砜）、水胺硫磷、甲基异柳磷、氧乐果、氟虫腈（包括氟甲腈、氟虫腈硫醚、氟虫腈砜）、毒死蜱、三唑磷、乐果、乙酰甲胺磷、敌敌畏、仲丁威、异菌脲、苯醚甲环唑、二甲戊灵、多效唑、治螟磷、特丁硫磷、杀扑磷"]
[230,"棕色螺口玻璃样品瓶","15ml，50个/盒","盒",5]
[231,"玻璃进样瓶（带盖）","2ml，100个/盒","盒",20]
[232,"斩切刀（90Cr18MoV不锈钢）","刀长31.5cm","套",2]
[233,"多用刀（400系列不锈钢）","刀长30.5cm","套",2]
[234,"全不锈钢厨房剪（SB3030）","总长长20cm","套",2]
[235,"塑料砧板","30cm*40cm","套",2]
[236,"稻丰散标准物质","100μg/mL，1mL/支","支",2]
[237,"溴硫磷标准物质","100μg/mL，1mL/支","支",2]
[238,"虫螨磷标准物质","100μg/mL，1mL/支","支",2]
[239,"乙嘧硫磷标准物质","100μg/mL，1mL/支","支",2]
[240,"胺丙畏标准物质","100μg/mL，1mL/支","支",2]
[241,"硫线磷标准物质","100μg/mL，1mL/支","支",2]
[242,"异稻瘟净标准物质","100μg/mL，1mL/支","支",2]
[243,"甲基对氧磷标准物质","100μg/mL，1mL/支","支",2]
[244,"硫丙磷标准物质","100μg/mL，1mL/支","支",2]
[245,"10-100μl移液枪头","1000只/包，适用大龙牌移液枪","包",2]
[246,"100-1000μl移液枪头","500只/包，适用大龙牌移液枪","包",2]
[247,"5000μl移液枪头","100只/包，适用大龙牌移液枪","包",8]
[248,"微孔过滤膜（有机相）","尼龙66、13mm、0.22um、100个/盒","盒",5]
[249,"塑料废液桶","10L/个，耐酸碱，适用于化工废液","个",2]
[250,"盐酸克伦特罗、莱克多巴胺、沙丁胺醇三联卡","三联胶体金检测卡，灵敏度3-5-5μg/kg","条",71000]
[251,"沙拉沙星标准物质","100μg/mL，1mL/支","支",2]
[252,"达氟沙星标准物质","100μg/mL，1mL/支","支",2]
[253,"磺胺甲噁唑标准物质","100μg/mL，1mL/支","支",2]
[254,"磺胺间二甲氧嘧啶标准物质","100μg/mL，1mL/支","支",2]
[255,"磺胺二甲嘧啶标准物质","100μg/mL，1mL/支","支",2]
[256,"蝇毒磷标准物质","100μg/mL，1mL/支","支",2]
[257,"β-六六六标准物质","100μg/mL，1mL/支","支",2]
[258,"δ-六六六标准物质","100μg/mL，1mL/支","支",2]
[259,"α-六六六标准物质","100μg/mL，1mL/支","支",2]
[260,"γ-六六六标准物质","100μg/mL，1mL/支","支",2]
[261,"腐霉利/速克灵标准物质","100μg/mL，1mL/支","支",2]
[262,"3-羟基克百威标准物质","100μg/mL，1mL/支","支",2]
[263,"磺胺喹噁啉标准物质","100μg/mL，1mL/支","支",2]
[264,"正己烷"," 色谱级，4L/瓶","瓶",5]
[265,"V03P试剂盒","25套\\盒","盒",6]
[266,"气相色谱住（7HG-G017-10）","30m*0.25mm*0.20μm","根",2]
[267,"液相色谱住","EC-C18 2.7μm，1000bar\n2.1*100mm","根",3]
[268,"石墨管","/","盒",1]
[269,"方形过滤网","/","个",10]
[270,"不锈钢挂式沥水架","/","个",5]
[271,"伸缩洗菜篮沥水架","/","个",5]
[272,"50-1000μl移液枪头","500个/袋","袋",4]
[273,"0.1-5mL移液枪头","500个/袋","袋",4]
[274,"100ml带塞尖底塑料离心管","100mL/支","支",400]
[275,"10ml带塞尖底塑料离心管","10ml/支","支",400]
[276,"一次薄膜手套","400只/盒","盒",10]
[277,"活性炭口罩","50只/盒","盒",10]
[278,"液相进样瓶（带盖）","100个/盒，带100个盖","盒",4]
[279,"柱后衍生化试剂","内含：邻苯二甲醇一瓶；巯基化合物一瓶；opa稀释剂950ml/瓶x4；水解试剂950ml/瓶x4","套",6]
[280,"乙酸铵分析纯","500g/瓶","瓶",2]
[281,"柠檬酸分析纯","500g/瓶","瓶",2]
[282,"残杀威标准物质","1000ug/ml，1ml/支","支",2]
[283,"混杀威标准物质","1000ug/ml，1ml/支","支",2]
[284,"诺氟沙星标准物质","1000ug/ml，1ml/支","支",2]
[285,"氧氟沙星标准物质","1000ug/ml，1ml/支","支",2]
[286,"恶喹酸标准物质","1000ug/ml，1ml/支","支",2]
[287,"氟甲喹标准物质","1000ug/ml，1ml/支","支",2]
[288,"益棉磷（乙基谷硫磷）标准物质","1000ug/ml，1ml/支","支",2]
[289,"胺丙畏（巴胺磷）标准物质","1000ug/ml，1ml/支","支",2]
[290,"地毒磷（毒壤磷）标准物质","1000ug/ml，1ml/支","支",2]
[291,"PM996封口膜","—","盒",6]
[292,"微孔滤膜（水相）","0.22µm，100个/盒","盒",4]
[293,"变色硅胶","500g/瓶","瓶",2]
[294,"氧化锆珠","500g/袋","袋",2]
[295,"一次性塑料离心管（平底）","100mL/支","支",100]
[296,"（乙基）对氧磷标准物质","1ml/支，1000μg/ml","支",2]
[297,"除线磷标准物质","1ml/支，1000μg/ml","支",2]
[298,"alpha-六六六标准物质","1ml/支，1000μg/ml","支",2]
[299,"beta-六六六标准物质","1ml/支，1000μg/ml","支",2]
[300,"gamma-六六六标准物质","1ml/支，1000μg/ml","支",2]
[301,"delta-六六六标准物质","1ml/支，1000μg/ml","支",2]
[302,"腐霉利标准物质","1ml/支，1000μg/ml","支",2]
[303,"试管","16×100mm（100支/盒 得泰C1610100）","盒",12]
[304,"进样瓶盖","VEAP-5394-09B-100","盒",12]
[305,"透明螺纹自动进样瓶","VAAP-32009E-1232-100","盒",12]
[306,"15ml透明螺纹样品瓶（含盖子）","100个/盒","盒",6]
[307,"国家标准样品-铅","1000ug/mL","支",1]
[308,"国家标准样品-砷","1000ug/mL","支",1]
[309,"国家标准样品-镉","1000ug/mL","支",1]
[310,"2ml一次性无菌注射器","2ml，150支/包","包",20]
[311,"1ml移液枪枪头","0.1-1ml，500个/包，适用于普兰德移液枪","包",10]
[312,"5ml移液枪枪头","0.5-5ml，200个/包，适用于普兰德移液枪","包",20]
[313,"10ml移液枪枪头","1-10mL，100个/包，适用于普兰德移液枪","包",20]
[314,"300μl移液枪枪头","30-300μl，1000个/包，适用于普兰德8枪头移液枪","包",10]
[315,"二氯甲烷","500ml/瓶，分析纯","瓶",20]
[316,"QUECHERS提取试剂包","固相萃取柱,QuEChERS 萃取盐，带管，EN 方法，带陶瓷均质子，50包/盒","盒",40]
[317,"QUECHERS净化试剂包（深色）","885mg 硫酸镁,150mg PSA,15mgGCB 50支/盒","盒",20]
[318,"宽颈三角烧瓶","250ml，瓶颈外径50mm，瓶外径85mm，高度136mm","个",20]
[319,"鸡心瓶","150ml，内径29mm","个",20]
[320,"吸量管架","有机玻璃，梯形","个",2]
[321,"色谱瓶","螺口，透明，带书写签，经认证，2 mL，100个/包,适用于安捷伦气质联用仪8890-7000D","包",30]
[322,"色谱瓶盖","塑料瓶盖,瓶盖，螺口，蓝色，PTFE/红色硅橡胶隔垫，500个/包，与上述色谱瓶匹配","包",6]
[323,"样品瓶","300ml,塑料，带盖，可低温冷冻","个",1500]
[324,"废液桶","25L，圆桶型，高度460mm，直径313mm，口径210mm，塑料，耐酸碱，适用于化工废液","个",4]
[325,"离子源陶瓷绝缘片","参考安捷伦型号G1099-20133,适用于安捷伦气质联用仪8890-7000D","个",2]
[326,"隔垫头","参考安捷伦型号18740-60830，适用于安捷伦气质联用仪8890-7000D","个",2]
[327,"12种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"敌敌畏、乙拌磷、乐果、毒死蜱、嘧啶磷、甲基异柳磷、水胺硫磷、丙虫磷、灭菌磷、硫丙磷、三唑磷、亚胺硫磷"]
[328,"11种农药定制混合标准物质（见备注）","1.0ml/支，100ug/ml","支",1,"灭线磷、甲拌磷、二嗪磷、氯唑磷、甲基毒死蜱、甲基对硫磷、杀螟硫磷、乙基溴硫磷、丙溴磷、乙硫磷、丰索磷"]
[329,"氮吹仪","/","台","1台"]
[330,"防交叉污染导管（PTFE)","100支/包","包","10包"]
[331,"研磨机十字刀底座+150mL杯子","150mL/个","个",10]